Spill Prevention, Control and Countermeasure (SPCC) Plan

Marina Name:

Address:

Contact Name:

Phone:

Fax:

Email:

## Certification:			I hereby certify that I have examined the facility, and, being familiar with the provisions of 40 CFR part 112, attest that this SPCC plan has been prepared in accordance with good engineering practices.

This plan has been certified by:

[P.E. NAME/ADDRESS/ETC.]

Date of certification:		                 								Engineer’s Seal

Facility Information

Facility Name:

Mailing Address:

Physical address if different:

Owner Name:

Owner Address:

Primary Contact Name:

Work Phone Number:

Home Phone Number:

Mobile Phone Number:

Secondary Contact Name:

Work Phone Number:

Home Phone Number:

Mobile Phone Number:

Date of Initial Operation:

Site Assessment

Location:

Describe where facility is located.  For example, “This site is located along Broad Creek about 2 miles north of its confluence with the Choptank River at Holland Point.  Road access is from. . . . The site is located on Talbot County ADC map 22 (H5).  Latitude is         and longitude is         .”

##### Facility Description

Acres of land:

Facilities and Equipment:

Place an X beside all that apply.

wet slips, how many?

dry slips, how many?

maintenance buildings, how many?

ships store

restrooms

laundry facilities

offices

pavilion

picnic area

pumpout station

commercial fuel dock

non-commercial fuel pump

travel lift

hydraulic trailer

fork lift

other structures and equipment.  Please list:

Services:

Place an X beside all that apply.

general maintenance

commissioning

winterization

pressure washing

cleaning and waxing

engine repair/tuning

propeller  repairs

oil changes

parts cleaning

painting

blasting

sanding

canvas

rigging

fiberglass

blister repair

carpentry

air conditioning repair and service

refrigeration

electrical

plumbing

other services.  Please list:

Fixed Storage:

List capacity and contents of each storage container.  For example, “One 6,000 gallon above ground tank containing diesel fuel.”  Be sure to include diesel, gasoline, waste oil, heating oil, kerosene, paint thinner and other solvents.

Non-Fixed Storage:

List capacity and contents of each storage container. For example, “One 55 gallon drum for recycled oil.” Be sure to indicate what the container is used for.

Total quantity of stored materials:

The combined quantity of the materials listed above:	        gallons

##### Oil spill history

Place an X on the appropriate line and proceed accordingly.

There has never been a significant spill at the above named facility.

There have been one or more significant spills at the above named facility.  Details of such spill(s) are described below.

For each spill that occurred, supply the following information:

- Type and amount of oil spilled

- Location, date and time of spill(s)

- Watercourse affected

- Description of physical damage

- Cost of damage

- Cost of clean-up

- Cause of spill

- Action taken to prevent recurrence

##### Potential Spill Volumes and Rates

Fill in all applicable blanks.  Be prepared to show the engineer documentation of flow rates.  Your fuel vendor and the manufacturer of your storage and dispensing equipment should be able to provide this documentation.

Potential Event	Volume Released	Spill Rate

Complete failure of a full tank*	        gallons	instantaneous

Partial failure of a full tank*	1 to         gallons	gradual to instantaneous

Tank overflow**	1 to         gallons	up to         gallons per minute

Leaking during unloading***	up to         gallons	up to         gallons per minute

Pipe failure****	up to         gallons	up to         gallons per minute

Leaking pipe or valve****	several ounces to gallons	up to         gallons per minute

Fueling operations****	several ounces to gallons	up to         gallons per minute

Oil and grease	several ounces to quarts	spotting

* 	Volume of largest tank

** 	Calculate using the rate at which fuel is dispensed from the delivery truck into your tank(s).

*** 	Calculate using the rate at which petroleum would be withdrawn from the tank if it should have to be emptied (e.g., if it was being taken out of service).

**** 	Calculate based on the specifications of your equipment.

Spill Prevention and Control

Spill Prevention:

Provide specific descriptions of containment facilities and practices.  Include description of items such as double-walled tanks, containment berms, emergency shut-offs, drip pans, fueling procedures and spill response kits.  Also, describe how and when employees are trained in proper handling procedures and spill prevention and response procedures.

Description of where a spill would go:

For each potential spill source, describe where petroleum would flow in the event of a spill.  For example, “The 6,000 gallon diesel tank has a pre-manufactured secondary containment system capable of holding 110 percent of the total volume of the tank” and, “A spill from engine repair would be contained inside the shop building and quickly cleaned up with oil absorbents.”  Incorporate site map by reference (see instructions under Appendices).

.

Describe actions that would be taken in the event of a spill:

Identify what equipment would be deployed by whom and in what situation.  Also, include phone numbers for response agencies, e.g., U.S. Coast Guard, fire department, spill response contractors, etc.  A copy of your spill response plan may be attached as an appendix to this SPCC plan in lieu of completing this section.

Facility Inspections

- Name facilities and the frequency with which they are inspected.  For example, “The fuel pumps are inspected daily.  The materials storage area is inspected monthly.”  Name the person who has responsibility to implement preventative maintenance programs, oversee on-site inspections, coordinate employee training, maintain records, update the plan as necessary, and ensure that reports are submitted to the proper authorities.

- Include a description of annual comprehensive inspections.  For example, “A site inspection is also conducted annually by appropriate responsible personnel to verify that the description of potential pollutant sources are accurate, that the map reflects current site conditions, and that the controls to reduce the pollutants identified in this plan are being implemented and are adequate.  This annual inspection will be conducted above and beyond the routine inspections done focusing on designated equipment and areas where potential sources are located.”

Record Keeping

Describe record keeping procedures.  For example, “Record keeping procedures consist of maintaining all records a minimum of three years.  The following items will be kept on file: current SPCC plan, internal site reviews, training records, and documentation of any spills or maintenance conducted in regards to these sites.”  Maintenance Inspection, Employee Training, and Record Keeping logs are included in this template for your use.

Marina Management Approval

I certify that I have personally examined and am familiar with the information submitted in this document and that, based on my inquiry of those individuals responsible for obtaining this information, the information submitted is true, accurate and complete.

_____________________________	_____________________

###### Signature		Title

_____________________________	_____________________

###### Printed name		Date

Maintenance Inspections

Maintenance Coordinator:                                                              .  Maintenance Coordinator responsibilities include implementation of preventative maintenance programs and oversight of on-site inspections.

Use this table to record inspections:

| Facility Inspected | Date of Inspection | Name of Inspector | Result Pass/Fail | Comments |
| --- | --- | --- | --- | --- |
| Oil recycling area | 4/27/00 | Eric Rose | Pass | No evidence of leakage |

Employee Training

Employee Training Coordinator:

Use this table to record spill prevention and response training.

| Name of Employee | Date of Training | Type of Training/Topics Addressed |
| --- | --- | --- |
| Carl Bishop | 3/26/01 | Boom deployment |

Record Keeping of Incidental Spills

Record Keeper:                                                            .  Record Keeper responsibilities include maintaining records of incidents, updating the SPCC plan as necessary and ensuring reports are submitted to the proper authorities when necessary.

| Incident No. | Type of Incident | Date of Occurrence | How it was Cleaned Up |
| --- | --- | --- | --- |
| 1 | Leaky connection on fuel pump | 7/21/00 | Diesel soaked up with oil absorbent pad. Called U.S. Petroleum to fix fuel dispenser. |

Appendices

Site map:

Include a site map as Appendix A to this plan.  You may attach an existing site map or create your own.  If you use an existing map, be sure that the items listed below are included.

If you need to create a site map, start by printing out the Border.pdf file.  Using this border sheet, sketch out the layout of your marina.  The following instructions should guide you step-by-step.  Please use a straight edge (ruler) while creating the sketch.

- The sketch should be oriented as if you were in a plane looking down on your property (an aerial view).

- Draw and label all roadways surrounding your marina property.

- Draw and label all facilities within your marina as close proportionately as possible.

- Draw an arrow indicating north.

- Draw an arrow(s) pointing in the direction of downhill flow of water when it rains.

- Draw the location of any inlets or catch basins that may presently exist on your property.

- Draw the location and general layout of all boat slips associated with your marina.

- Label the river or waterway adjacent to your marina.

- Draw and label all methods of entry to the waterway, i.e., boat ramps, lift well, etc.

- Draw and label with an arrow boat washing areas.

- Draw and label the location of all fuel containment facilities.

- Draw and label the location of all in-place spill prevention, control and countermeasure devices.

- Draw and label the location of all proposed spill prevention, control and countermeasure devices.

Other attachments:

List any additional information to be attached as Appendix B, C, D, etc.  Label and staple the attachments to the end of this SPCC plan.

Appendix A:	    Site Map

Appendix B:

Appendix C:

Appendix D:

Appendix E:

Appendix F: